PACIFIC CITY JWSA BOARD OF DIRECTORS

BUSINESS MEETING MINUTES

# February 1, 2011

Chairman Kellow called the February 2011 business meeting to order at 12:00 PM, in the Authority’s meeting room.

Directors present:  Doug Kellow, Carolyn McVicker, Larry Rouse and Anne Price.  Dick Carter was absent.

Guests Present:   Betty Robinson, Howard Goodman, Dave Baxter and Linda Baxter.

Staff Present:   Tony Owen

MINUTES:

- 01/17/11 Regular Business Meeting Minutes

### Motion

Director Price stated that the date on page one was incorrect and the word “concerning” on page three was misspelled.  Director McVicker moved to approve the 01/17/11 Business Meeting Minutes as corrected.  Director Price seconded, and the motion carried with three ayes and one abstention.

FINANCIAL REPORT

- Accounts Payable:  1/27 and 02/01/11.

### Motion

Director Rouse moved to approve the payables for 1/27 and 02/01/11.  Director McVicker seconded, and the motion carried with four ayes.

- Fiscal Year 2010-2011

As presented

MANAGER’S REPORT

Mr. Owen stated that both trucks approved by the Board as surplus were sold.  Mr. Owen continued that the Ford Ranger was sold for $700.00 and the International was sold for $500.00

Mr. Owen reported that the 2” pressure reducing valve (PRV) project in Pacific City Heights was supplemented with a 6” PRV within the same vault and that pressure and flow reliability should be improved.  Mr. Owen said that in addition, PCJWSA performed other water distribution system improvements and the total expense would exceed $10,000.00

Mr. Owen said that the #2 pump at the 100K booster station was replaced making both new pumps at a cost of $10,000.00.

UNFINISHED BUSINESS

- Horn Creek

Mr. Owen stated that the raw water and finish water tanks are completely coated and the residual tanks were started February 1, 2011.  Mr. Owen continued that the plant should be running by the end of March.

- Budget Calendar

Mr. Owen passed out the budget calendar to the Board and asked to be informed if there were any conflicts.  Mr. Owen reported that he had a potential conflict during May and June as he may be traveling.  Mr. Owen continued that he had talked to Chairman Kellow previously and requested a span of 3-4 consecutive weeks off.  Mr. Owen explained that he would operate Horn Creek and the Pacific City plant through his laptop and substantial planning.

UNSCHEDULED

NEW BUSINESS

GUEST QUESTIONS AND COMMENTS

#### CHAIRMAN/DIRECTOR COMMENTS

Director Rouse commented on the condition of Lincoln City’s water supply and how well prepared Pacific City was.  Chairman Kellow gave a dissertation of the issues and how they are being remedied.

Director Kellow adjourned the regular meeting at 5:23 PM.

The PCJWSA Board of Directors approved these minutes on March 1, 2011 by the following votes:

Aye______   Nay______   Abstain______   Absent______

ATTEST:

Doug Kellow, Chairman				Tony Owen, Authority Manager